## Sheet1
Basic | Front room (street level) | Back room (street level) | Stairs down to lower level | Dining Room | Kitchen | Bathroom (lower floor) | inner stairs | Bedroom 1 (front) | Bedroom 2 (rear) | En-suite | Garden / outside | lean-to
Strip out (flooring / coving /skirting / wallpaper / kitchen / bathrooms / old wiring / rads / boiler etc …….) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Tidy up | KNOCK DOWN
skim ceiling (overboard if needed) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A
skim walls if needed | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A
New skirting board | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A
replace light | pendant | pendant | NEW | ceiling light | ceiling light | bathroom light | NEW | pendant | pendant | bathroom light | outside light
replace light switch(es) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A
curtain pole (fit only) | Yes | Yes | N/A | N/A | N/A | N/A | N/A | Yes | Yes | N/A | N/A
Paint walls | emulsion | emulsion | emulsion | emulsion | kitchen paint | bathroom paint | emulsion | emulsion | emulsion | bathroom paint | N/A
Gloss woodwork | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | N/A
Flooring | carpet | carpet | carpet | Laminate | Laminate | tiled | carpet | carpet | carpet | Laminate | N/A
New internal door, frame, architrave and hardware | two | one | N/A | N/A | N/A | one | N/A | two | one | one | N/A
New Radiator | Yes | Yes | N/A | Yes | Yes | towel rad | N/A | Yes | Yes | towel rad | N/A
New double sockets (chased in) | 4 | 4 | N/A | 4 | lots | N/A | N/A | 4 | 4 | N/A | N/A
New UPVC window | Yes | Yes | N/A | N/A | N/A | N/A | N/A | Yes | Yes | Yes | N/A
unique to room
New UPVC front door
Gas Meter re-installed (supply & fit)
Fireplace ripout
Wooden cupboard ripout
Electric fire & surround installed (fit only)
Plaster chimney (currently back to brick)
New light switch by front door (2 way with current one)
New cupboard to hide electrics / gas
Replace fuseboard
Fireplace ripout - board / skim
Needs a light and switch
remove wall between dining room & bathroom
Remove green fire and mantel
Board and skim brickwork
leave ceiling beems
Install kitchen (fit only)
New UPVC french doors
New rubber flat roof & insulate
Power for cooker / extractor / hob / washing machine / dishwasher / boiler
New gas boiler
tile around worktops (tiles supplied)
New wall
New shower enclosure & shower (fit only)
New toilet (fit only)
New basin / taps (fit only)
toilet roll holder (fit only)
keep handrail
keep fireplace
investigate wet wall (on left as you go in)
Put in proper loft hatch
New main door to open out against new wall
repair hole in floor near door
Toilet (fit only)
basin (fit only)
shower enclosure and shower unit (fit only)
toilet roll holder (fit only)
Roller blind (fit only)
Paved area outside of french doors
tidy up rest
check chimney
check roof tiles
check guttering (front & back)
EXTRA
Quote on digging out the front section
EXTENTION POTENTIAL
There is planning permission for a double height extension. I would like an idea of costing for this.
If it works then for the rest of the property it just means 2 slightly bigger rooms, so just extra decoration and a slightly bigger ensuite.